## Slide 1: Forecast of Nuclear Power Generation until 2100
Asko Vuorinen
Ekoenergo Oy
Based on the Book: ”Planning of Nuclear Power Systems to Save the Planet”

## Slide 2: Population Stabilization at 9 billion
Chart: The World's Population Forecast
Biggest growth
in Africa and India
No growth in the industrial world

## Slide 3: Electricity consumption will rise from 20 to 50 PWh in 2100
Chart: Electricity Consumption Forecast in the World
Biggest growth
in China
Moderate growth
in North America
and Europe

## Slide 4: 25 PWh saving from the trend
Year 2100
-----------------------
Trend 75 PWh
Forecast 50 PWh
-----------------------Saving 25 PWh
Chart: Future Electricity Consumption in the World
| 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070 | 2071 | 2072 | 2073 | 2074 | 2075 | 2076 | 2077 | 2078 | 2079 | 2080 | 2081 | 2082 | 2083 | 2084 | 2085 | 2086 | 2087 | 2088 | 2089 | 2090 | 2091 | 2092 | 2093 | 2094 | 2095 | 2096 | 2097 | 2098 | 2099 | 2100
Actual | 11847.4798 | 12096.977 | 12211.058 | 12474.6139 | 12805.8504 | 13246.3963 | 13673.2327 | 13959.5681 | 14340.2093 | 14715.8598 | 15379.7654 | 15626.4514 | 16183.0925 | 16792.6109 | 17553.5986 | 18311.556 | 19025.5238 | 19907.7938 | 20336.2725 | 20093.5605

## Slide 5: Specific electricity consumption will rise from 3000 to 5600 kWh/c
Chart: Specific electricity consumption

## Slide 6: Generation planning goals
To limit global warming to 2 degC
To limit cumulative CO2-emissions of energy industries to 2500 Gt
To limit cumulative CO2-emissions of electricity generation to 820 Gt (34 %)
  0) 2009:1500 kg/capita (500 g/kWh)
  1) 2050: 690 kg/capita (150 g/kWh)
  2) 2100:140 kg/capita (25 g/kWh)

## Slide 7: Priorities in generation planning
1) Renewables (hydro, wind, bio, solar)
2) Combined heat and power (CHP)
3) Nuclear plants, if needed
4) Gas and oil plants, if needed
5) Coal plants, if needed

## Slide 8: Hydro electricity generation increase from 3 to 6.5 PWh
Chart: Hydro Electricity Generation in the World
Largest growth
in China
and Africa

## Slide 9: Capacity Additions of Wind Power Plants were 40 GWe
Source: BP 2011

## Slide 10: Wind / wave capacity additions from 40 to 160 GWe/a
Chart: Annual Capacity Additions of Wind and Wave Power Plants

## Slide 11: Wind and wave generation increase from 0.3 to 12 PWh
Chart: Wind and Wave Electricity Generation in the World

## Slide 12: Biomass electricity generation increase from 0.2 to 1.6 PWh
Chart: Biomass Electricity Generation in the World

## Slide 13: Solar electricity generation achieve 9 PWh by 2100
Chart: Solar Electricity Generation in the World

## Slide 14: CHP electricity generation increase from 2 to 6 PWh
Chart: CHP Electricity Generation in the World

## Slide 15: Other generation will increase from 14 to 24 PWh by 2050
Chart: Electricity Generation Sources in the World

## Slide 16: Nuclear Electricity Generation

## Slide 17: Construction starts of nuclear plants reached 15 GWe in 2010
Source: IAEA PRIS

## Slide 18: Capacity additions of nuclear plants should increase to 65 GW
Chart: Capacity Additions of Nuclear Power Plants

## Slide 19: Nuclear electricity generation will peak at 19 PWh at 2080
Chart: Electricity Generation of Nuclear Power Plants

## Slide 20: Elecricity of LWR* power plants peak at 13 PWh in 2080
Chart: Electricity Generation by LWR power plants in the World
*Light Water Reactor (LWR)

## Slide 21: Uranium demand will reach 16 million tons* by 2100
Chart: Cumulative Uranium Demand
* $130/kgU resources 16 Mt by IAEA

## Slide 22: Electricity generation by breeders will reach 6 PWh
Chart: Electricity Generation by Breeder Reactors in the World

## Slide 23: Breeders
Types of breeders
  Plutonium-239
  Thorium-233
Break-even
  Uranium price from 130 to $260/kgU
  Breeder plant costs + €175/kWe
Beloyarsk breeders
  VVER-1000+40 %=+€1000/kWe

## Slide 24: Fossil Fired Power Plants

## Slide 25: Fossil electricity generation peak at 15 PWh in 2021
Chart: Fossil Electricity Generation in the World

## Slide 26: Oil and gas electricity generation will peak at 9 PWh in 2040
Chart: Oil and Gas Fired Electricity Generation in the World

## Slide 27: Orders of gas turbines and internal combustion engines
Source: Diesel & Gas Turbine Worldwide
Chart: Orders of Gas Turbines and Internal Combustion Engines (> 0.5 MWe)
| 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | Aver 5
GT (>1 MW) | 27434 | 28551 | 30593 | 28229 | 33197 | 64254 | 75850 | 118421 | 70614 | 25741 | 38696 | 34943 | 42020 | 58358 | 69506 | 43185 | 20089 | 32954 | 44818.4
ICE (1-60 MW) | 7106 | 8387 | 9090 | 9377 | 9511 | 9644 | 9617 | 11712 | 16263 | 12280 | 11600 | 13145 | 16906 | 23541 | 24660 | 28663 | 25113 | 25149 | 25425.2
ICE (0.5-1 MW) | 11840 | 13405 | 16151 | 13013 | 13457 | 13573.2

## Slide 28: Gas power capacity addition forecast peak at 100 GWe/a

## Slide 29: Oil power capacity additions will peak at 30 GWe/a (2020-2050)

## Slide 30: Coal fired electicity generation will peak at 8 PWh in 2018
Chart: Coal Fired Electricity Generation in the World

## Slide 31: CO2-emissions and change in global temperature

## Slide 32: CO2-emissions of electricity generation peak at 13 Gt in 2020
Chart: CO2-Emissions of Electricity Generation in the World

## Slide 33: CO2-emissions of electricity by countries

## Slide 34: CO2-emissions of electricity per capita reach1t/capita by 2050*
* Carbon capture and storage needed in NA, China, Middle East, EE

## Slide 35: CO2-emission of electricity per capita reach 0.2 t/capita in 2100*
* Also carbon capture and storage (CCS) is needed in some areas

## Slide 36: Cumulative CO2-emissions of electricity reach 850 Gt

## Slide 37: Cumulative CO2-emissions of energy industry reach 2800 Mt

## Slide 38: CO2-concentration at Mauna Loa will reach 550 ppm

## Slide 39: Global temperature increase from 1990 to 2100 will be < 2 C*
* Maximum figures assuming 100 % is anthropogenic

## Slide 40: Actual increase in temperature in North Finland is about 0.6 degC

## Slide 41: Anthropogenic influence 0.4 C Solar influence 0.2 C*
* Source: Berger et al.

## Slide 42: Forecasted electricity generation sources in the world

## Slide 43: Market shares of electricity generation sources

## Slide 44: Electricity ages (The highest market share of generation)
Coal age ->2020
Hydrocarbon age 2021-2040
Nuclear age 2041-2110
Wind and wave age 2111-2140
Solar age 2141-

## Slide 45: Capacity additions increase from 200 GWe to 300 GWe/a by 2030

## Slide 46: Market leaders in capacity additions world wide
Oil and gas 1990-2040
Wind and wave 2040-2070
Solar 2070->

## Slide 47: Summary
It is possible
  to limit global warming to 2 degC
  by limiting CO2-concentration to 550 ppm
How?
  Nuclear should be largest source of electricity in the world 2041-2110
  New nuclear plants needed (nuclear CHP and breeder)
  Also renewables, CHP, CCS and CO2-trading needed

## Slide 48: Reference
Book:
”Planning of Nuclear Power Systems to Save the Planet”
Author: Asko Vuorinen
Publisher: Ekoenergo Oy
Date: August 2011
Soft cover ,176x250 mm, 304 pages, 149 figures, 100 tables
Price: €20 + sending costs
Orders:
www.optimalpowersystems.com
Contacts:
askovuorinen@gmail.com